Building: 300			Date: January 14, 2025

Names of Inspectors: Kordell Bergen, Kim Sharpe, Rob Okashimo, Dale Baumel, Jannine Grant

|  | Yes | No | N/A |
| --- | --- | --- | --- |

|  | Around the Building |  |  |  |
| --- | --- | --- | --- | --- |
| A.1 | Is the address sign or number easily visible? | X |  |  |
| A.2 | Is waste stored in appropriate waste or recycling storage areas? | X |  |  |
| A.3 | Is the property kept clear of litter, combustibles, hazardous materials, etc.? | X |  |  |
| A.4 | If present, are smoking areas clean? Is an appropriate cigarette butt receptacle available? | X |  |  |
|  | Parking Lot |  |  |  |
| B.1 | Are appropriate signs posted (e.g., no parking in fire routes, etc.)? |  |  | X |
| B.2 | Are the parking areas free from trip hazards (e.g., no pot holes, cracks, etc.)? |  |  | X |
| B.3 | Is the lighting adequate in the area and walkways at night? | Unknown |  |  |
| B.4 | Is the parking lot kept free of debris? |  |  | X |
| B.5 | In winter, is the parking lot free from ice and snow? |  |  | X |
|  | Stairs |  |  |  |
| C.1 | Are stairs, stairwells, and landings kept clear and unobstructed? | X |  |  |
| C.2 | In winter, are stairs, stairwells, and landings kept clear from ice and snow? |  |  | X |
| C.3 | Are stairways adequately lit? | X |  |  |
| C.4 | Are stairs, treads, handrails, and any guards secure and in good condition? |  | X |  |
| C.5 | Do treads and landings have non-skid surfaces and they are in good condition? | X |  |  |
|  | Exits / Fire Safety |  |  |  |
| D.1 | Are all emergency exits, exit doors, landings, and steps from the building well marked, unblocked, and kept in good condition? |  | X |  |
| D.2 | In winter, are exits kept free from ice and snow? |  |  | X |
| D.3 | In winter, is the roof area over the exits free of falling ice and snow hazards? |  |  | X |
| D.4 | Are exit doors, landings, and steps well lit? Are the lights over the exit doors working and in good repair? | Unknown |  |  |
| D.5 | In winter, is the access ramp clear of ice and snow, and is there good traction? |  |  | X |
| D.6 | Can the building be easily accessed by the fire department? Are fire lanes accessible and posted? | X |  |  |
| D.7 | Are the fire department hose connections kept clear, accessible and have caps? | X |  |  |
| D.8 | Is the electrical service entrance area clear of trees and branches? | X |  |  |
| D.9 | Are all electrical wires out of reach of the public? | X |  |  |
|  | Grounds |  |  |  |
| E.1 | Are walkways clear and in good condition? Are there any holes or trip hazards on grounds where workers/public may walk? | X |  |  |
| E.2 | In winter, are ice and snow cleared promptly from walkways? |  |  | X |
| E.3 | Is security lighting functioning properly? | Unknown |  |  |
| E.4 | Are exit routes (from the grounds) well marked, and kept clear and unobstructed? | X |  |  |
| E.5 | Is fencing in good condition? |  |  | X |
| E.6 | Is any outdoor machinery in good repair? | X |  |  |
|  | Loading Areas |  |  |  |
| G.1 | If required, are pedestrian walkways clearly marked? |  |  | X |
| G.2 | Are vehicles and/or loads secured from accidental movement? |  |  | X |
| G.3 | Is the area kept free of obstructions or debris? |  |  | X |
| G.4 | Are any lifting devices, racking systems, etc. in good condition? |  |  | X |
| G.5 | If required, are machine guards in place? |  |  | X |
|  | Miscellaneous |  |  |  |
| H.1 | Broken windows | X |  |  |

| Corrective Action | Assigned To |
| --- | --- |
| A.4. The tobacco use sign on the door by the Welcome Centre is out of date. Please remove. | Facility Services |
| C.4.1. The aluminum ramp from the patio to the wooden stairs on the north end of the building is loose. Can this ramp be screwed to the wooden landing to secure it better? | Facility Services |
| C.4.2. The wooden stairs on the north end of the building are loose, when you step on them, they shift. | Facility Services |
| C.4.3. The transition from the lower level of the cafeteria to the patio is quite large. Can a ramp be added or high viz markings? | Facility Services |
| C.4.4. The grip material on the stairs at the north end of the building are quite worn and need to be replaced. | Facility Services |
| D.1. Old railings are being stored under the stairs at the north end of the building. They are partially blocking the emergency exit, please remove them. | Facility Services |
| H.1. A couple of pieces of the overhead glass by the Office of Future Students are cracked. | Facility Services |

A.4                                                     C.4.1                                                   C.4.2

C.4.3                                                  C.4.4                                                   D.1

H.1

Building: 300			          Date: December 14, 2025

Names of Inspectors: Kordell Bergen, Kim Sharpe, Rob Okashimo, Dale Baumel, Jannine Grant

|  | Yes | No | N/A |
| --- | --- | --- | --- |

|  | Bulletin Boards and Signs |  |  |  |
| --- | --- | --- | --- | --- |
| A.1 | Are they clean and readable? | X |  |  |
| A.2 | Is the material changed frequently? |  | X |  |
| A.3 | Do items interfere with people walking by? |  | X |  |
|  | Floors |  |  |  |
| B.1 | Is there loose material, debris, worn carpeting? |  | X |  |
| B.2 | Are the floors slippery, oily or wet? |  | X |  |
|  | Stairways and Aisles |  |  |  |
| C.1 | Are they clear and unblocked? | X |  |  |
| C.2 | Are stairways well lighted? | X |  |  |
| C.3 | Are handrails, handholds in place? | X |  |  |
| C.4 | Are the aisles marked and visible? |  |  | X |
|  | Equipment |  |  |  |
| D.1 | Are guards, screens and sound-dampening devices in place and effective? | X |  |  |
| D.2 | Is the furniture in good repair and safe to use? Look for: |  |  |  |
| D.3 | - chairs that are in poor repair |  | X |  |
| D.4 | - sharp edges on desks and cabinets |  | X |  |
| D.5 | - poor ergonomics (keyboard elevation, chair adjustment, desk height) |  | X |  |
| D.6 | - crowding |  | X |  |
| D.7 | Are ladders well maintained and safe to use? |  |  | X |
|  | Emergency Equipment |  |  |  |
| E.1 | Is all fire control equipment regularly tested and certified? | X |  |  |
| E.2 | Is fire control equipment appropriate for the type of fire it must control? | X |  |  |
| E.3 | Is emergency lighting in place and regularly tested? | X |  |  |
|  | Building |  |  |  |
| F.1 | Do buildings conform to standards with respect to use, occupancy, building services, and plumbing facilities? | X |  |  |
| F.2 | Check the following structures to ensure safety: |  |  |  |
| F.3 | - swinging doors | X |  |  |
| F.4 | - floor and wall openings | X |  |  |
| F.5 | - ladders, stairways and ramps | X |  |  |
| F.6 | - guardrails | X |  |  |
| F.7 | Are materials stored safely? | X |  |  |
|  | Air Handling System |  |  |  |
| G.1 | Does air exchange rate meet standard requirements? |  | X |  |
| G.2 | Is the system free of sources of contamination (e.g., asbestos, microorganisms, dust, fumes)? |  | X |  |
| G.3 | Is humidity within recommended range? | X |  |  |
|  | Hazardous Products |  |  |  |
| H.1 | Are there any hazardous products (e.g., products regulated by WHMIS)? | X |  |  |
| H.2 | - If yes, are the products properly labelled? | X |  |  |
| H.3 | - If yes, is there a corresponding safety data sheet (SDS) for each product? |  |  | X |
| H.4 | - If yes, are workers trained in how to work with or near these products safely? |  |  | X |
|  | Sanitation |  |  |  |
| I.1 | Are washrooms and food preparation areas clean? | X |  |  |
| I.2 | Are the following provided adequately? |  |  |  |
| I.3 | - toilets | X |  |  |
| I.4 | - showers |  |  | X |
| I.5 | - potable (drinkable) water | X |  |  |
| I.6 | - clothing storage | X |  |  |
| I.7 | - change rooms | X |  |  |
| I.8 | - field accommodations | X |  |  |
| I.9 | - lunchrooms | X |  |  |
| I.10 | Are measures in place to prevent the spread of disease? | X |  |  |
|  | Security |  |  |  |
| J.1 | Do entry and exit procedures provide workers personal security at night? | X |  |  |
| J.2 | Are emergency (evacuation, fire, bomb threat, hostile person) procedures in place? | X |  |  |
|  | Lighting |  |  |  |
| K.1 | Are lamp reflectors clean? | X |  |  |
| K.2 | Are bulbs missing? |  | X |  |
| K.3 | Are any areas dark? | X |  |  |
|  | Material Storage |  |  |  |
| L.1 | Are materials neatly and safely piled? | X |  |  |
| L.2 | Are there stepladders or stools to get to materials on higher shelves? |  |  | X |
| L.3 | Are storage shelves overloaded or beyond their rated capacity? |  | X |  |
| L.4 | Are large and heavy objects stored on lower shelves? | X |  |  |
| L.5 | Are passageways and work areas clear of obstructions? | X |  |  |
|  | General |  |  |  |
| M.1 | Are extension cords used extensively? (if so, consider installing permanent wiring) | X |  |  |
| M.2 | Are electrical or telephone cords exposed in areas where employees may become entangled? | X |  |  |
| M.3 | Is electrical wiring properly installed? | X |  |  |
| M.4 | Are machines properly guarded? | X |  |  |
| M.5 | Does any equipment have sharp metal projections? |  | X |  |
| M.6 | Are wall and ceiling fixtures fastened securely? | X |  |  |
| M.7 | Are paper and waste properly disposed of? | X |  |  |
| M.8 | Are desk and file drawers kept closed when not in use? | X |  |  |
| M.9 | Are office accessories stored appropriately? | X |  |  |
| M.10 | Are materials stacked on desks or cabinets? |  | X |  |
| M.11 | Are file cabinet drawers overloaded? |  | X |  |
| M.12 | Are file cabinets loaded with the heaviest items in the bottom drawers? | X |  |  |
| M.13 | Are shelves securely fastened to the wall when necessary? |  |  | X |
| M.14 | Are filing stools or wastebaskets placed where they might be tripping hazards? |  | X |  |
| N.1 | The elevator appears to be broken | X |  |  |
| N.2 | Strings in office | X |  |  |
| N.3 | Unstable wall | X |  |  |

| Corrective Action | Assigned To |
| --- | --- |
| A.2. Signs for services are incorrect, need updating throughout the building. | Facility Services |
| C.1. Random objects stacked in the hallway. | Building Occupants |
| E.3. An exit light is not working in the hallway near R152. | Facility Services |
| F.3. The accessibility door in the Office of Future Students doesn’t work. | Facility Services |
| G.1. Committee members heard numerous complaints about the lack of heat and excessive airflow from workers in the building. | Facility Services |
| G.2. Committee members heard complaints over the amount of dust and air quality from the Payroll team (Room 117). This room used to have an air purifier, can it be replaced? | Facility Services |
| K.3. The light in the elevator does not work. | Facility Services |
| M.1 & M.2. Excessive cords are being used in R152. Please remove. | Building Occupants |
| N.1. The elevator appears to be broken. | Facility Services |
| N.2. The Fire inspection from July 2024 required that the strings be removed from Don Putz’s office. These have not been removed. | Zareen Jawaid |
| N.3. The temporary wall separating two workstations in R117 is very unstable. This wall should be anchored to the permanent wall. | Facility Services |

A.2                                                           A.2                                                          C.1

E.3                                                            F.3                                                            K.3

M.1/M.2                                                   N.1                                                           N.3